|  |  |  |
| --- | --- | --- |
| 12/13/18 | | |
| ***BUILDINGS*** | ***ACTION*** | ***DURATION*** |
| **RESIDENT BUILDINGS** | | |
| * Apartments 1-6 | No Curtailment |  |
| * Clet | No Curtailment |  |
| * Lynch | No Curtailment |  |
| * O’Donoughue | Reduce Heat (Individual Room Controls) | 12/14/18-1/18/19 |
| * O’Shea | No Curtailment |  |
| * Seton | Shutdown Hot Water, Turn on Point of Use for Basement and 1st Floor Common Areas | 12/17/18-1/18/19 |
| * Varsity Village   (VV #6 and other Select Buildings to be Determined by Res. Life) | No Curtailment |  |
| * Varsity Village   (Select Buildings to be Determined by Res. Life) | Reduce Heat to 62oF | 12/17/18-1/18/19 |
| **ACADEMIC** | | |
| * Academic Complex | Reduce Heat to 62oF, shutdown Hot Water | 12/21/18-1/1/19 |
| * DePaul | No Curtailment |  |
| * Dunleavy | Reduce Heat (Individual Room Controls), shutdown Hot Water | 12/21/18-1/1/19 |
| * Golisano | No Curtailment |  |
| * St. Vincent’s Hall | Reduce Heat to 62oF, shutdown Hot Water | 12/21/18-1/1/19 |
| **OFFICES** | | |
| * Alumni | No Curtailment |  |
| * Bailo | Reduce Heat to 62oF, shutdown Hot Water | 12/21/18-1/1/19 |
| * Butler | No Curtailment – Contractor Working | 12/21/18-1/1/19 |
| * Campus Safety | No Curtailment |  |
| * Dwyer | No Curtailment |  |
| * Gacioch | Reduce Heat (Individual Room Controls), shutdown Hot Water | 12/21/18-1/1/19 |
| * Gallagher | No Curtailment |  |
| * Kiernan | No Curtailment |  |
| * Physical Plant | No Curtailment |  |
| * Timon | Reduce Heat to 62oF, shutdown Hot Water | 12/21/18-1/1/19 |

**CAMPUS ENERGY CURTAILMENT – 2018-2019 WINTER BREAK**

Please be advised Facilities Services will be curtailing energy during winter break in buildings per the below list.

If you have an event during this time in in which you will need heat or hot water please inform us no later than the end of the day (5:00PM) on Wednesday, December 19, 2018. Such advisement must be in the form of a work order request placed through i-service desk.

If you have any questions please contact Facility Services at ext. 8430

If the building is not listed no curtailment will be undertaken