## Sheet1
UPDATED 2019-2020 WINTER BREAK HEAT CURTAILMENT |  |  |  | 2019-12-16
| HEAT |  | DOM. HOT WATER
BUILDINGS | Shutdown Temp. 12/21/19-1/5/20 | Shutdown Temp. 1/6/20-1/21/20 | Shutdown 12/17/20-1/21/20 | NOTES
ACADEMIC COMPLEX | 60 | No Shutdown | NO
ALUMNI | No Shutdown | No Shutdown | NO
ALUMNI ANNEX-HR/BOILER HSE | 60 | No Shutdown | NO
APT#1 | No Shutdown | No Shutdown | NO
APT#2 | No Shutdown | No Shutdown | NO
APT#3 | No Shutdown | No Shutdown | NO
APT#4 | No Shutdown | No Shutdown | NO
APT#5 | No Shutdown | No Shutdown | NO
APT#6 | No Shutdown | No Shutdown | NO
BAILO | 60 | No Shutdown | NO
BUTLER | No Shutdown | No Shutdown | NO
CAMPUS SAFETY | No Shutdown | No Shutdown | NO
CASTELLANI | No Shutdown | No Shutdown | NO
CLET | No Shutdown | No Shutdown | NO
DEPAUL | 60 | No Shutdown | NO
DUNLEAVY | 60 | No Shutdown | NO
DWYER | No Shutdown | No Shutdown | NO
GACIOCH | 60 | No Shutdown | NO
GALLAGHER | No Shutdown | No Shutdown | NO
GOLISANO | No Shutdown | No Shutdown | NO
KIERNAN | No Shutdown | No Shutdown | NO
LIBRARY | 60 | No Shutdown | NO
LYNCH | No Shutdown | No Shutdown | NO
MARION-PO/COM DOC* | 60* | No Shutdown | NO
O'DONOUGHUE | 60 | 60 | YES | Heat & DHW Back On 1/15/20 @noon
OSHEA | No Shutdown | No Shutdown | NO
PHYSICAL PLANT | No Shutdown | No Shutdown | NO
ROOSEVELT | No Shutdown | No Shutdown | NO
ST. VINCENT'S ANNEX | 60 | No Shutdown | NO
ST. VINCENT'S HALL | 60 | No Shutdown | NO
SETON | 60** | 60*** | YES | Heat & DHW Back On 1/15/20 @noon
TENNIS | 60 | No Shutdown | NO
THEATER ANNEX | No Shutdown | No Shutdown | NO
TIMON | 60 | No Shutdown | NO
VARSITY VILLAGE #1 | No Shutdown | No Shutdown | NO
VARSITY VILLAGE #2 | 60 on 12/17 | 60 | YES | Heat & DHW Back On 1/15/20 @noon
VARSITY VILLAGE #3 | 60 on 12/17 | 60 | YES | Heat & DHW Back On 1/15/20 @noon
VARSITY VILLAGE #4 | 60 on 12/17 | 60 | YES | Heat & DHW Back On 1/15/20 @noon
VARSITY VILLAGE #5 | No Shutdown | No Shutdown | NO
VARSITY VILLAGE #6 | 60 on 12/17 | 60 | YES | Heat & DHW Back On 1/15/20 @noon
VINCENTIAN RESIDENCE | No Shutdown | No Shutdown | NO
*No Shutdown at COMDOC and Police Academy as it remains in operation
** In all areas except RD suite
***Heat back on in Offices (First Floor and Basement) @noon on 1/5/20
Student Rooms remain off, Student Room Heat Back On 1/15/20 @noon